## Slide 1: Shimmer IMU sensors
Ευαγγελία Αθανασακη

## Slide 2: HARDWARE
Sensors included in each device:
Accelerometer (3D), measures changes in velocity
Gyroscope (3D), measures angular velocity
Magnetometer (3D), measures strength of the magnetic field
Shimmer Device:

## Slide 3: HARDWARE
ACCELEROMETER
Figure 3. Uni-axial magnetometer attached to a leg segment
Figure 2. total acceleration vextor
Figure 1. Shimmer3 default axis directions

## Slide 4: HARDWARE
GYROSCOPE
Figure 3. Uni-axial rate gyroscope attached to a rotating plate
Figure 1. Shimmer3 default axis directions
ω =
ω
ω =
ω
x
y
z
ω cos(β )
ω cos(β )
ω cos(β )
x
y
z
Figure 2. tri-axial gyroscope rate

## Slide 5: HARDWARE
MAGNETOMETER
m=
m
m =
m
x
y
z
m cos(α )
m cos(α )
m cos(α )
x
y
z
Figure 2. tri-axial magnetometer rate
Figure 1. Shimmer3 default axis directions

## Slide 6
The output Y for each sensor (acc/gyr/mag) is:
SOFTWARE
Y = Kru + b + n
K | Sensor’s scale factor (the change in output per unit of input Volts/g) | Estimated by calibration
r | is the rotation matrix which defines the actual sensor axes | Estimated by calibration
u | value of the sensed phenomenon | Defined in use
b | value of the sensor output when the sensed phenomenon is equal to zero | Estimated by calibration
n | is the noise vector | Defined by manufacturer

## Slide 7: SOFTWARE
ACCELEROMETER |  |  | GYROSCOPE |  |  | MAGNETOMETER |  | 
X axes | Y axes | Z axes | X axes | Y axes | Z axes | X axes | Y axes | Z axes
-0.6381260517 -0.6380077624 -0.5673273650 0.21909503347 0.23075359958 0.27738063488 | -0.85463565892 -0.81825331906 -0.79494647771 4.72064493121 4.72026912372 4.79104052609 | 9.99691863372 10.0087475664 9.93393015842 8.81426530854 8.78964565140 8.69044442106 | -1.30603847151 -1.06992021997 -0.83719184135 1.24207108972 1.79285476800 0.98309672126 | 0.77993576999 0.84110720293 0.91757149411 1.66692154763 1.03991435999 0.55054289646 | -1.71018442341 -1.11508475673 -0.85897238112 1.24207108972 1.79285476800 0.98309672126 | 0.61133603238 0.61133603238 0.61133603238 0.61740890688 0.61740890688 0.61740890688 | -0.64372469635 -0.64372469635 -0.62348178137 0.02834008097 0.02834008097 0.02834008097 | 0.72 0.72 0.72 0.81500000000 0.815000000001 0.81500000000
Data we actually get from each device have this format
Units are in International System of Units
TIMESTAMP (ms)
1024566650390 1044097900390 1063629150390 3954254150390 3973785400390 3993316650390
2
(m/s )
(local flux)
(deg/sec)

## Slide 8
MOVEMENT IDENTIFICATION
Final Dataset composed of each movement’s subset
Num of samples
9
repetitions of
DOWN movement
UP
UP
UP
UP
Num of samples
repetitions of
UP movement
repetitions of
LEFT movement
repetitions of
RIGHT movement
RIGHT
RIGHT
RIGHT
RIGHT
LEFT
LEFT
LEFT
LEFT
DOWN
DOWN
DOWN
DOWN
ACC |  |  | GYR |  |  | MAG |  | 
x | y | z | x | y | z | x | y | z
-0.63812 -0.63807 -0.56732 |  |  | -0.63866 0.638007 0.567327 |  |  | 0.638126 0.638007 0.567327 |  | 

## Slide 9
n-by-p data matrix
  n: number of observations (28 = 4movements * 7experiments )
  p: features used (4 from each device 36 features )
mean |  |  |  |  |  |  |  |  | rms |  |  |  |  |  |  |  |  | std |  |  |  |  |  |  |  |  | meadian |  |  |  |  |  |  |  | 
acc |  |  | gyr |  |  | mag |  |  | acc |  |  | gyr |  |  | mag |  |  | acc |  |  | gyr |  |  | mag |  |  | acc |  |  | gyr |  |  | mag |  | 
x | y | z | x | y | z | x | y | z | x | y | z | x | y | z | x | y | z | x | y | z | x | y | z | x | y | z | x | y | z | x | y | z | x | y | z
up
down
left
right
4
movements
7
repetitions of each
movement
28
observations
Data we actually analyze

## Slide 10
where a is the centroid of the cluster and b is an observation
Kmeans
Parameters
  Dataset: 28 observations by 36 features matrix
  k=4
  Distance metric: cityblock
Why Cityblock?
Is better in calculating distances in more than two dimensions
Defined on
CLUSTER ANALYSIS METHOD
, i = 1,2,…,36 features

## Slide 11
Classify each
observation
in a cluster
down
down
up
left
left
up
up
down
up
left
left
right
Actual
clustering
Predicted
clustering
Raw data
70%
Train set
Test set
kmeans
compare
Final result
…% success
up
left
30%
Observations and features
clusters
down
right

## Slide 12
RESULTS
100% success
Cross-validation (7 different training/testing sets) came up
with 100% success on characterizing hand movements