## Slide 1: Shimmer IMU sensors
Ευαγγελία Αθανασακη

## Slide 2: HARDWARE
ACCELEROMETER (3D): measures the change in velocity
GYROSCOPE (3D): measures the angular velocity
MAGNETOMETER (3D): measures the strength of the magnetic field

## Slide 3: HARDWARE
ACCELEROMETER

## Slide 4: HARDWARE
GYROSCOPE

## Slide 5: HARDWARE
MAGNETOMETER

## Slide 6: SOFTWARE
ACCELEROMETER |  |  | GYROSCOPE |  |  | MAGNETOMETER |  | 
X axes | Y axes | Z axes | X axes | Y axes | Z axes | X axes | Y axes | Z axes
-0.6381260517 -0.6380077624 -0.5673273650 0.21909503347 0.23075359958 0.27738063488 | -0.85463565892 -0.81825331906 -0.79494647771 4.72064493121 4.72026912372 4.79104052609 | 9.99691863372 10.0087475664 9.93393015842 8.81426530854 8.78964565140 8.69044442106 | -1.30603847151 -1.06992021997 -0.83719184135 1.24207108972 1.79285476800 0.98309672126 | 0.77993576999 0.84110720293 0.91757149411 1.66692154763 1.03991435999 0.55054289646 | -1.71018442341 -1.11508475673 -0.85897238112 1.24207108972 1.79285476800 0.98309672126 | 0.61133603238 0.61133603238 0.61133603238 0.61740890688 0.61740890688 0.61740890688 | -0.64372469635 -0.64372469635 -0.62348178137 0.02834008097 0.02834008097 0.02834008097 | 0.72 0.72 0.72 0.81500000000 0.815000000001 0.81500000000
Data we actually get from each device have this format
They are calibrated so we get them in known SI metrics

## Slide 7
The output is described by:
SOFTWARE
Y = Kru + b + n
K | Sensor’s scale factor
r | is the rotation matrix which defines the actual sensor axes
u | value of the sensed phenomenon
b | is the offset bias vector
n | is the noise vector
,
,
,
,
and

## Slide 8
THIS PROJECT
Characterizing four hand movements using all three 3D sensors
                up
                Down
                Right
                Left
gather measurements (samples) from all sensors for each movement
Repeat each movement 10 times
…so actually we got 40 experiment sets from samples
What we do
How we do it

## Slide 9
10 repetitions of
DOWN movement
1
2
3
4
5
6
7
8
9
10
UP
UP
UP
UP
UP
UP
UP
UP
UP
UP
Num of samples
ACC |  |  | GYR |  |  | MAG |  | 
x | y | z | x | y | z | x | y | z
-0.63812 -0.63807 -0.56732 |  |  | -0.63866 0.638007 0.567327 |  |  | 0.638126 0.638007 0.567327 |  | 
10 repetitions of
DONW movement
1
2
3
4
5
6
7
8
9
10
DOWN
DOWN
DOWN
DOWN
DOWN
DOWN
DOWN
DOWN
DOWN
DOWN
Num of samples
ACC |  |  | GYR |  |  | MAG |  | 
x | y | z | x | y | z | x | y | z
-0.63812 -0.63807 -0.56732 |  |  | -0.63866 0.638007 0.567327 |  |  | 0.638126 0.638007 0.567327 |  | 
10 repetitions of
RIGHT movement
1
2
3
4
5
6
7
8
9
10
RIGHT
RIGHT
RIGHT
RIGHT
RIGHT
RIGHT
RIGHT
RIGHT
RIGHT
RIGHT
Num of samples
ACC |  |  | GYR |  |  | MAG |  | 
x | y | z | x | y | z | x | y | z
-0.63812 -0.63807 -0.56732 |  |  | -0.63866 0.638007 0.567327 |  |  | 0.638126 0.638007 0.567327 |  | 
10 repetitions of
LEFT movement
1
2
3
4
5
6
7
8
9
10
LEFT
LEFT
LEFT
LEFT
LEFT
LEFT
LEFT
LEFT
LEFT
LEFT
Num of samples
ACC |  |  | GYR |  |  | MAG |  | 
x | y | z | x | y | z | x | y | z
-0.63812 -0.63807 -0.56732 |  |  | -0.63866 0.638007 0.567327 |  |  | 0.638126 0.638007 0.567327 |  | 
… and Visually
THIS PROJECT
Final Dataset composed of 40 experiment subsets

## Slide 10
DATA ANALYSIS
Training phase
Choose 7/10 experiment sets of each movement and elaborate them at the same time
so we end up with 28 training sets
From each training set we extract the values below, to use them as features in clustering
    Mean / Rms /Std/ Median
    Using features above to separate into cluster our dataset expecting to get four clusters
    each labeled as one from our movements
    Take the 3/10 experiment sets that left from each movement total sets (12 testing sets)
    Extract Mean / Rms /Std/ Median values from each set
    Run clustering with the above
    Check the correctness of the results
METHODOLOGY
Testing phase